Weekly Lab Maintenance

- Cleanup materials left over from completed lab

- Check and refill if necessary:  Disinfectant bottles, soap powder containers, Softcide bottles, and paper towel containers.

- Check and empty kill pans.

- Autoclave weekly waste.

- Clean autoclave table and wash autoclaved glassware.

- Check prep room and reshelf reagent s, media and glassware.

- Check sinks and wash or put away anything left in the sinks.

- Check pH meter and insure probe is submerged.

- Check media dispenser and insure it is clean and left full of water.

- Check microscopes and insure they are cleaned and shelved appropriately.